Highlights

• Battery-model fidelity changes DRL-based microgrid BESS scheduling economics.

• A common PBM evaluation protocol is applied in MG-RES and MG-CIGRE.

• EBM-trained SAC policies show about 5% higher annual operating cost.

• PBM-trained SAC policies lower annual cost on all six seeds in both cases.

• The annual gap accumulates through repeated small dispatch differences.